## 1. Framework Overview
Solar SiteIQ — Scoring Framework
Northern Peninsular Malaysia Large-Scale Solar & REZ Site Screening
H3 Resolution 6 · ~36 km² per tile · ~6 km edge-to-edge
# | Dimension | Weight (%) | Key Sub-factors | Data Source
1 | Solar Resource Potential | 25 | GHI kWh/m²/day, regional cloud cover, monsoon seasonality | SEDA/NASA POWER regional model
2 | Grid Interconnection | 20 | Distance to 132 kV+ line/substation, voltage level, available headroom (MVA) | TNB grid maps, annual reports
3 | Land Suitability | 20 | Land use classification, soil type, slope, drainage, protected status | NLC / DOA / state land use data
4 | Land Availability | 10 | Tenure, fragmentation risk, acquisition pathway (NLC, FELDA, MADA) | State land office / FELDA records
5 | Climatic Conditions | 10 | DID flood zone, annual rainfall, river proximity, drainage basin | DID flood maps, JMG
6 | Road Access | 8 | Distance to federal/state road, heavy vehicle suitability, bridge constraints | JKR road network
7 | Environmental & Social | 7 | PRF buffer, Orang Asli settlements, water catchment, DOE EIA category | PERHILITAN, DOE Malaysia
Composite Score |  | 100%
Verdict Thresholds
Go | ≥ 70 | Site suitable for 50 MW+ solar development with manageable constraints
Conditional Go | 45 – 69 | Development possible but requires mitigation, upgrade, or approval
Avoid | < 45 | Significant constraints make development unviable or very high risk

## 2. Dimension Scoring
Dimension Scoring Breakpoints
1. Solar Resource (GHI → Score)
GHI (kWh/m²/day) | Score | Comment
≥ 5.4 | 100 | Best-in-class for Malaysia (Perlis / NW Kedah)
5.2 – 5.4 | 85–100 | Excellent — Central Kedah plains
5.0 – 5.2 | 65–85 | Good — Perak valley / Penang mainland
4.8 – 5.0 | 45–65 | Moderate — Penang island, lower Perak coast
4.5 – 4.8 | 20–45 | Low — Highland fringe / Titiwangsa edge
< 4.5 | 10 | Poor — Highland Perak, avoid
2. Grid Interconnection (Distance + Voltage → Score)
Distance to Grid | Base Score | Voltage Bonus | Notes
≤ 2 km | 100 |  | Direct connection viable
2 – 5 km | 70–90 |  | Short spur acceptable
5 – 15 km | 45–70 |  | Moderate connection cost
15 – 30 km | 25–45 |  | Long connection, costly
30 – 60 km | 5–25 |  | Very long — viability marginal
> 60 km | 5 |  | Avoid unless strategic
275/500 kV substation nearby |  | +15 pts | High injection capacity
132 kV substation nearby |  | +5 pts | Distribution voltage
3. Land Suitability (Land Use Class → Score)
Land Use Class | Score | Rationale
Idle Agricultural (idle_agri) | 95 | Former rubber/sugarcane; minimal conversion barrier
Rubber (rubber) | 75 | Ageing estates; conversion via state land office
Mixed Agricultural (mixed_agri) | 65 | Smallholder; fragmented but accessible
Oil Palm (oil_palm) | 55 | Active crop; FELDA/FELCRA conversion required
Paddy (paddy) | 35 | MADA food-security constraint; federal approval needed
Water body (water) | 40 | FPV possible; TNB/DOE permitting required
Urban (urban) | 10 | Not suitable for utility-scale
Forest (forest) | 0 | PRF — fully protected; no development
Protected area override | 0 | Any gazetted protected area scores 0
4. Land Availability (Proxy from Land Use)
Land Use Class | Availability Score | Notes
Idle Agricultural | 90 | High availability; state land or idle private
Rubber | 70 | Moderate; many parcels under conversion
Mixed Agricultural | 60 | Fragmented smallholdings
Oil Palm | 50 | Active operations; long lead time
Water | 35 | FPV site; complex ownership
Paddy | 25 | MADA-managed; very restricted conversion
Urban | 5 | Minimal land availability
Forest / Protected | 0 | Not available
5. Climate / Flood Risk (DID Flood Zone → Score)
Flood Risk Level | Score | Typical Scenario
Low | 95 | No significant flood history; well-drained terrain
Medium | 65 | Occasional inundation; bunding may be required
High | 30 | Frequent flooding; elevated foundations likely needed
Extreme | 5 | Regularly inundated; not suitable for ground-mount
6. Road Access (Distance to Nearest Road → Score)
Distance to Road | Score | Notes
≤ 1 km | 100 | Direct access
1 – 3 km | 75–90 | Short access road upgrade
3 – 8 km | 50–75 | Moderate access works
8 – 20 km | 25–50 | Significant access road required
20 – 40 km | 10–25 | Very costly access works
> 40 km | 10 | Not viable without major infrastructure
7. Environmental & Social (Composite Rule)
Condition | Score Adjustment
Protected area (forest/PRF/sanctuary) | → 0 (override)
Forest land use | → 0
Water body land use | −15 pts (FPV permitting)
Paddy land use (community sensitivity) | −20 pts
High flood risk | −10 pts
Extreme flood risk | −25 pts
Base score (no constraints) | 80 pts

## 3. GHI Regional Data
GHI Regional Estimates — Northern Peninsular Malaysia
Region | States | GHI Min | GHI Max | GHI Mid | Notes
Perlis / NW Kedah | Perlis, N. Kedah | 5.3 | 5.6 | 5.45 | Flattest terrain, driest, highest GHI in Malaysia
Central Kedah (MADA) | Kedah | 5.1 | 5.4 | 5.25 | Double-cropping paddy plains; slightly higher humidity
East Kedah (Baling/Sik) | Kedah | 5 | 5.3 | 5.15 | More inland cloud cover; idle agri land
Penang | Penang | 4.8 | 5.1 | 4.95 | Island/coastal zone; higher humidity, urban heat island
Perak Valley (Ipoh corridor) | Perak | 4.9 | 5.3 | 5.1 | Valley location; some topographic shading north–south
Lower Perak Coast | Perak | 4.8 | 5.1 | 4.95 | Coastal delta; cloud and humidity impact
Titiwangsa Highland | Perak (E) | 4.4 | 4.8 | 4.6 | High elevation, persistent cloud cover, not viable
Source: SEDA Malaysia solar resource atlas; NASA POWER reanalysis data (2000–2023 average)
Units: kWh/m²/day (Global Horizontal Irradiance)

## 4. TNB Substations
TNB Substation Reference — Northern Peninsular Malaysia
Substation Name | State | Lat | Lng | Voltage (kV) | Capacity (MVA) | Headroom (MVA) | Dedicated Feed | Notes
Bukit Keteri 275/132 kV PMU | Perlis | 6.384 | 100.196 | 275 | 630 | 280 | TRUE | Main bulk supply for Perlis. Strategic for large LSS injection.
Kangar 132/33 kV | Perlis | 6.444 | 100.195 | 132 | 120 | 55 | FALSE | Perlis state capital distribution. Limited headroom.
Arau 132/33 kV | Perlis | 6.426 | 100.275 | 132 | 90 | 40 | FALSE | Feeds Arau industrial and UniMAP zone.
Alor Setar 275/132 kV PMU | Kedah | 6.104 | 100.37 | 275 | 500 | 180 | TRUE | Kedah state capital bulk supply. Serves MADA zone.
Gurun 132/33 kV | Kedah | 5.817 | 100.457 | 132 | 160 | 70 | FALSE | Mid-Kedah industrial distribution.
Sungai Petani 132/33 kV PMU | Kedah | 5.652 | 100.487 | 132 | 250 | 85 | FALSE | Largest load centre in Kedah after Alor Setar.
Kulim 275/132 kV PMU (Hi-Tech Park) | Kedah | 5.378 | 100.553 | 275 | 450 | 140 | TRUE | Primary supply for Kulim Hi-Tech Park. LSS-dedicated spur planned.
Baling 132/33 kV | Kedah | 5.677 | 100.921 | 132 | 80 | 45 | FALSE | East Kedah rural. Surrounded by large idle agri land.
Sik 132/33 kV | Kedah | 5.8 | 100.74 | 132 | 60 | 30 | FALSE | Rural Kedah near significant idle/scrubland.
Jitra 132/33 kV | Kedah | 6.263 | 100.419 | 132 | 110 | 50 | FALSE | North Kedah paddy zone substation.
Pendang 132/33 kV | Kedah | 5.995 | 100.521 | 132 | 80 | 35 | FALSE | MADA paddy heartland. Constrained headroom.
Bukit Minyak 275/132 kV PMU | Penang | 5.352 | 100.468 | 275 | 630 | 90 | TRUE | Main bulk supply Penang mainland industrial. High utilisation.
Pauh 132/33 kV | Penang | 5.396 | 100.418 | 132 | 200 | 55 | FALSE | South Seberang Prai (Batu Kawan adjacent).
Prai 132/33 kV | Penang | 5.512 | 100.393 | 132 | 180 | 40 | FALSE | Prai industrial. High utilisation due to port demand.
Ipoh North 275/132 kV PMU | Perak | 4.647 | 101.08 | 275 | 500 | 160 | TRUE | Main bulk supply for Ipoh. Good headroom for RE.
Gerik 275/132 kV (Bersia Hydro) | Perak | 5.418 | 101.134 | 275 | 320 | 200 | TRUE | Near Bersia/Temenggor hydro. Significant headroom.
Sungai Siput 132/33 kV | Perak | 4.844 | 101.051 | 132 | 120 | 65 | FALSE | Upper Perak valley. Near flat agri land.
Bidor 132/33 kV | Perak | 4.118 | 101.281 | 132 | 100 | 55 | FALSE | South Perak. Oil palm and rubber surroundings.
Parit Buntar 132/33 kV | Perak | 5.122 | 100.492 | 132 | 90 | 48 | FALSE | Lower Perak / Kedah border. Paddy surroundings.
Taiping 132/33 kV PMU | Perak | 4.852 | 100.737 | 132 | 180 | 75 | FALSE | Perak NW distribution. Near Bukit Larut fringe.
Teluk Intan 132/33 kV | Perak | 3.977 | 101.02 | 132 | 110 | 42 | FALSE | Lower Perak coast. Flood-prone; limited solar suitability.

## 5. Land Zones
Land Use Zone Reference — Northern Peninsular Malaysia
Zone ID | Label | Land Use | Flood Risk | Protected | Bounds S | Bounds N | Bounds W | Bounds E | Notes
perlis-sugarcane-idle | Chuping Sugar Estate / Idle Agri (Perlis) | idle_agri | low | FALSE | 6.28 | 6.5 | 100.1 | 100.35 | Former MSM sugar cane estate. Top solar prospect.
perlis-paddy-coast | Perlis Paddy Zone (coastal) | paddy | medium | FALSE | 6.3 | 6.45 | 100.25 | 100.48 | Active MADA-managed paddy. Conversion requires approval.
perlis-forest-wang-kelian | Wang Kelian Forest Reserve (Perlis) | forest | low | TRUE | 6.3 | 6.5 | 100.05 | 100.2 | Gazetted PRF — excluded from solar.
kedah-mada-north | MADA Paddy Scheme — North Zone | paddy | medium | FALSE | 5.8 | 6.32 | 100.22 | 100.6 | Core MADA double-cropping. Flat but politically sensitive.
kedah-mada-south | MADA Paddy Scheme — South Zone | paddy | high | FALSE | 5.55 | 5.82 | 100.28 | 100.62 | High flood frequency due to Sungai Muda drainage.
kedah-idle-agri-baling | Baling / Sik Idle Agricultural Land | idle_agri | low | FALSE | 5.6 | 5.9 | 100.62 | 101.05 | Abandoned rubber/mixed scrub. Good solar, moderate grid.
kedah-rubber-gurun | Gurun / Jeniang Rubber Estates | rubber | low | FALSE | 5.62 | 5.95 | 100.46 | 100.72 | Ageing rubber. Many parcels under replanting/conversion.
kedah-oil-palm-south | South Kedah Oil Palm | oil_palm | low | FALSE | 5.35 | 5.62 | 100.55 | 100.95 | Commercial oil palm. FELDA/FELCRA conversion possible.
kedah-forest-ulu-muda | Ulu Muda Forest Reserve | forest | low | TRUE | 5.7 | 6.1 | 101.1 | 101.55 | Key water catchment — fully protected.
penang-seberang-prai-agri | Seberang Prai Agricultural / Padi Zone | paddy | medium | FALSE | 5.22 | 5.52 | 100.35 | 100.5 | Active paddy and vegetables. Some idle parcels.
penang-batu-kawan | Batu Kawan / Simpang Ampat Industrial | mixed_agri | low | FALSE | 5.22 | 5.32 | 100.4 | 100.52 | Mixed industrial/agri fringe. Some idle parcels.
penang-kulim-kedah-border | Kulim–Penang Border Idle Land | idle_agri | low | FALSE | 5.28 | 5.4 | 100.52 | 100.68 | Idle/transitional land. Near Kulim 275 kV grid.
perak-lower-paddy-coast | Lower Perak Coastal Paddy | paddy | high | FALSE | 3.9 | 5.15 | 100.35 | 100.75 | Coastal paddy delta. High flood risk.
perak-rubber-midvalley | Perak Valley Rubber / Mixed Agri | rubber | low | FALSE | 4.2 | 5 | 100.75 | 101.35 | Widespread rubber and mixed smallholder.
perak-oil-palm-south | South Perak Oil Palm (Bidor–Tapah) | oil_palm | low | FALSE | 3.8 | 4.35 | 100.92 | 101.45 | Active oil palm. FELDA conversion with long lead.
perak-titiwangsa-forest | Titiwangsa / Main Range Forest | forest | low | TRUE | 3.8 | 6 | 101.3 | 102 | Permanent reserved forest. No development.
perak-bersia-lake | Temenggor / Bersia Reservoir | water | low | TRUE | 5.1 | 5.75 | 101.25 | 101.65 | TNB hydro reservoir. FPV possible subject to approval.
perak-idle-agri-upper | Upper Perak Idle / Fringe Agri (Grik) | idle_agri | low | FALSE | 5.2 | 5.6 | 100.88 | 101.3 | Good solar. Grid access requires long connection to Gerik.

## 6. Scoring Formulas
Composite Score Formula
Composite = (Solar × 0.25) + (Grid × 0.20) + (Land Suit. × 0.20) + (Land Avail. × 0.10) + (Climate × 0.10) + (Road × 0.08) + (Env/Social × 0.07)
Dimension | Weight | Formula Notes
Solar Resource | 25% | scoreGHI(ghi): linear interpolation from GHI breakpoints. Max at GHI ≥ 5.4.
Grid Interconnection | 20% | scoreGridProximity(distKm, voltKV): distance-decaying score + 15pt bonus for 275/500 kV.
Land Suitability | 20% | scoreLandUse(class, isProtected): lookup table. Protected areas → 0.
Land Availability | 10% | scoreAvailability(class, isProtected): proxy from land use class.
Climate / Flood Risk | 10% | scoreFloodRisk(risk): Low→95, Medium→65, High→30, Extreme→5.
Road Access | 8% | scoreRoadAccess(distKm): distance-decaying. ≤1 km → 100, >40 km → 10.
Environmental & Social | 7% | scoreEnvSocial(isProtected, landUse, floodRisk): base 80, deductions for constraints.
AI Workflow Prompts
Workflow | Type Key | Key Metrics Requested
Solar Resource | solar_resource | GHI, DNI, Performance Ratio, Dust Factor, Annual Yield, Technology
Grid Interconnection | grid_interconnection | Grid Operator, Substation, Connection Voltage, Headroom, Cost, Timeline
Land Suitability | land_suitability | Land Classification, Soil Type, Slope, Drainage, Conversion Req., Tenure
Land Availability | land_availability | Contiguous Area, Ownership, Fragmentation, Acquisition Pathway, Price, Timeline
Climate & Flood Risk | climate_risk | Flood Zone, 100-yr Level, Annual Rainfall, Cyclone Risk, Drought Risk, Score
Road Access | road_access | Nearest Road, Route Length, Bridge Limit, Heavy Vehicle Access, Upgrade Cost
Environmental & Social | env_social | Protected Buffer, Water Catchment, Community Sensitivity, DEIA, EIA Category, Timeline
Site Suitability | site_suitability | All 7 dimension scores + weighted composite + verdict + swing factor